Combustible Liquid: A liquid with a flashpoint at or above 100° F. Combustible liquids are subdivided into Class II or Class III liquids:

| Class | Flashpoint | Examples |
| --- | --- | --- |
| Class II | > 100° F and < 140° F | Diesel fuel, fuel oil, kerosene, motor oil |
| Class IIIA | > 140° F and < 200° F | Furfural, linseed oil, mineral oil, oil based paints |
| Class IIIB | > 200° F | Ethylene glycol, glycerine, neatsfoot oil |

Flammable liquid: A liquid with a flashpoint below 100° F. Flammable liquids are subdivided into Class IA, IB, or 1C liquids:

| Class | Flashpoint | Boiling Point | Examples |
| --- | --- | --- | --- |
| Class IA | <73° F | <100° F | Ethyl ether, heptane, pentane, propylene oxide, vinyl chloride |
| Class IB | <73° F | > 100° F | Acetone, ethanol, gasoline, isopropyl alcohol, methanol, methyl ethyl ketone, octane, toluene |
| Class IC | > 73° F and <100° F | All boiling points | Isobutyl alcohol, mineral spirits, styrene monomer, turpentine, xylene |